## Slide 1: Measuring cytotoxic and subcytoxic effects of nanoparticles and arsenic using the xCELLigence real time cell analyzer platform
Scott Boitano, Ph.D.
Respiratory cell physiology lab
University of arizona
Superfund Research Project
August 11, 2014

## Slide 2: Presentation Outline
Laboratory Focus – Airway Signaling and Toxicity
The xCELLigence Platform
Cytotoxicity of engineered nanoparticles (ENPs)
Cytotoxicity testing (live/dead assay vs. RTCA)
Cellular signaling toxicity (RTCA vs Ca2+ signaling)
Ongoing toxicity screening using the RTCA

## Slide 3: Conducting Airway Epithelium
http://www.mfg.mtu.edu/cyberman/environment/air/anatomy.html
Our cell line (16HBE14o-) models the airway epithelium
The conducting airway epithelium provides first line of defense from inhaled particulates and pathogens

## Slide 4: Particulate Matter Studies
Studies examined particulate matter in pollution (PM10 and PM2.5)
  Increased mortality and morbidity due to cardiovascular and respiratory effects
  Increased hospital admissions in patients with chronic obstructive pulmonary disease (COPD) and asthma
Ultrafine, Engineered Nano-Particles (ENP) cause inflammation and airway epithelium injury
ENPs are similar in size, but have different physical/chemical properties
We used Hafnium Oxide (HfO2) as a model ENP

## Slide 5: Examination of HfO2 ENP cytotoxicity: live/dead assay
Fluorescent Assay:
Grew 16HBE14o- cells to confluence (24 mm tissue culture wells)
Incubated 16HBE14o- cells in culture media +/- ENPs for 2 hr
Evaluated cytotoxicity with fluorescent dyes
  Cell permeant green dye (Calcein-AM) = live cells
  Cell impermeant red dye (ethidium homodimer) = dead cells
Limitations:
• Single time point response
• Time-intensive analysis (not high-throughput)
Notes: The first assay I used was a fluorescent-based Live/Dead assay, where cells are grown to confluence, and then exposed to HfO2-supplemented medium for 2 hrs.
The status of the cells is evaluated with fluorescent dyes, so that dead cells appear red, and live cells appear green. The cytotoxicity is quantified by determining the percent of live cells in each experiment.
In this experiment, we see that a 2 hr exposure to the HfO2 NPs does not cause significant toxicity until very high concentrations – 2000 ppm.
So, this assay is effective in assessing toxicity. However, it has some limitations. Single time point, tedious, also potential for interference of fluorescence with ENPs.
Therefore, we move to a more high-throughput assay.
Permeant, green, cleaved inside cells
Impermeant, red, only enters membrane compromised cells

## Slide 6: Examination of HfO2 ENP cytotoxicity: Real Time Cell Analysis (RTCA)
E-plate (96-well)
RTCA Experiment:
  Non-fluorescence-based assay that measured cell interaction with base plate membrane
  Grow Cells to Confluence
  Wash with Nanoparticle-supplemented Medium
  Follow Exposure over time for 8 hrs or more
Notes: This real time cell analysis assay does not use fluorescence. Instead, it measures cell attachment to a membrane, which can monitor cytotoxicity by sensing a loss of attachment.
*The RTCA uses 96-well cell culture plates that have microelectrode arrays in the bottom of the wells. As cells attach and grow, the electrodes sense impedance changes, which are related to the biological status of the cells.
I’ll go through a more detailed explanation of this assay in the next slides. Here, I just want to show you a typical output of an RTCA experiment. To test cytotoxicity of a particle, we grow cells to confluence, and then expose them to the NP by washing on nanoparticle-supplemented medium, after which we can follow the activity of the cells for 8 hrs or more. Advantage here, is that we can see cytotoxicity develop after an extended time, where before we only saw the one time point, two hrs after exposure

## Slide 7
RTCA measures cellular lipid contact with E-plate surface
Quantified by “cell index”
Cytotoxicity is indicated by a dramatic loss in cell index
In effect: Change in impedance measured at optimal frequency minus cell-less background value
Moe, et al., 2014, Encyclopedia of Analytical Chemistry

## Slide 8: RTCA Assay
Raw data obtained from RTCA
Grow cells in normal conditions
24-hr HfO2 NP exposure
Signaling Response (ATP)

## Slide 9: RTCA results with 16HBE14o- cells
HfO2 ENPs do not result in significant cytotoxicity
HfO2 ENPs do show cellular response
Compared ENP HfO2 with micron-sized HfO2 and untreated controls
No significant difference in HfO2 cytotoxicity between different sized particles
Notes: After this troubleshooting on the RTCA assay we were able to asses the toxicity of various NPs. Collaborators provided this data on CeO2 and SiO2 NP.
For these assays, we plated cells, monitored their growth, as you can see by the steady increase in impedance. We expose the cells to NPs by washing on NP-supplemented medium, shown by the arrow. Then we examine cytotoxicity by comparing the cell index trace of cells exposed to NPs to that of the MEM control.
The CeO2 NPs displayed no apparent toxicity to airway epithelial cells, since the cell index traces of cells exposed to quite high NP concentrations did not significantly vary from the control.
However, the SiO2 NPs induced cytotoxicity at concentrations as low as 200 ppm and greater toxicity at 300 and 600 ppm.
HfO2 matches lack of toxicity shown in Live/dead assay…Focus: One interesting thing we see is that HfO2 appears to induce an increase in impedance upon exposure to NPs,. This is indicative of a cellular response of some kind and needs further examination
Minimal cell death -- - -

## Slide 10: Nanoparticle Toxicity Comparison: RTCA and MTT
Otero-Gonzales, et al., 2012
Environmental Science and Technology
RTCA measured over time (19 – 80 hrs)
Downward deflection = cytotoxicity
MTT measured at 48 hrs
Low absorbance = cytotoxicity
Conclusions:
In agreement on cytotoxicity
RTCA is “Data-Rich”

## Slide 11: Beyond cytotoxicity: cellular effects of HfO2
Cell death is the end point for toxicity testing
Detrimental cellular effects can occur in the absence of cell death
  Cell transformation – e.g., Cancer
  Loss of ability to respond to cellular signals or stress
Are there adverse effects in lung epithelial cells from HfO2 ENPs exposure in the absence of cell death?
We used the RTCA to evaluate low-dose ENP exposure on ATP-induced airway epithelial cell signaling
  Alterations in ATP signaling is associated with innate immune impairment and chronic lung diseases
  ATP initiates an immediate physiological response that translates to an increase in cell index when measured by RTCA

## Slide 12: RTCA Assay
Raw data obtained from RTCA
Grow cells in normal conditions
24-hr HfO2 NP exposure
Signaling Response (ATP)

## Slide 13: Physiologic response to ATP following ENP and micron-sized HfO2 exposure in 16HBE14o- cells
[ATP]
HfO2 ENPs:
HfO2 Micron-sized:
[ATP]

## Slide 14: Quantification of physiologic response to ATP following ENP and micron-sized HfO2 exposure
• 24-hr incubation with low-dose ENP HfO2 reduces physiologic response to ATP:
  P <0.05 at 100 μM ATP (0 vs. 50 and 250 ppm)
  P <0.05 at 30,10, and 3 μM ATP (0 vs. 250 ppm)
• 24-hr incubation with low-dose micron-sized HfO2 reduces physiologic response to ATP:
  P <0.05 at 100 μM ATP (0 vs. 50 and 250 ppm)
  P <0.05 at 30 μM ATP (0 vs. 250 ppm)

## Slide 15
Ca2+ signaling is downstream of ATP
ATP mediates an increase in intracellular Ca2+ concentration ([Ca2+]i)
ATP can activate P2 receptors and increase [Ca2+]i
  P2Y receptors are G protein-coupled receptors
  P2X receptors are cation-selective ion channels activated by ATP
Hypothesis
  Exposure of airway epithelial cells to low-dose HfO2 will decrease their [Ca2+]i response to ATP

## Slide 16: HfO2 ENPs reduce ATP-mediated Ca2+ signaling
Confluent monolayers of 16HBE14o- cells were incubated with low-dose HfO2 ENPs for 24 hr
1 μM ATP was applied exogenously and intracellular Ca2+ [Ca2+]i monitored for 3 minutes
[Ca2+]i are calculated and presented on a color map
0 ppm HfO2
50 ppm HfO2
250 ppm HfO2

## Slide 17: Quantification of Ca2+ signaling
Cells that increase [Ca2+]i to 200 nM or more are considered positive
Micron-sized HfO2 showed some variation in ATP-mediated Ca2+ signaling that was not significantly reduced
ENP concentrations ~1/10 – 1/100 of where cytotoxicity can be measured have reduced ATP-mediated Ca2+ signaling

## Slide 18: Effects of HfO2 on Ca2+ signaling: particle concentration vs. surface area
These graphs demonstrate HfO2 Ca2+ signaling reductions are due to metals toxicity more than particle size

## Slide 19: Conclusions: HfO2 Toxicity
Size of ENPs
  Size reported by manufacturer should be verified
HfO2 ENPs did not cause significant cell death
Sub-cytotoxic exposures to HfO2 can alter mechanisms of innate immune function in lung epithelial cells
  Cellular response to ATP is altered by ENP exposure (RTCA)
  ATP-mediated [Ca2+]i response reduced by ENP exposure (Ca2+ imaging)
  ENP altered ATP-mediated [Ca2+]i response appears to be a metals toxicity
Notes: Overall, I can draw multiple conclusions from the various aspects of my project
I discussed how the characterization of ENPs is important when we are evaluating their cytotoxicity. We learned that the size reported by the NP supplier should be verified, and also, that the size and agglomeration state varies with the medium, so these aspects should be carefully considered when examining toxicity to cell cultures.
In our cytotoxicity assays, we concluded that HfO2 NPs did not cause cell death.
However, we found that sub-cytotoxic exposures to HfO2 NPs, as well as CeO2 and SiO2 NPs, can alter ATP-induced cell signaling. And we saw this in the overall response to ATP measured by RTCA, and also by digital imaging microscopy that evaluated the Ca2+ response to ATP.

## Slide 20: Initial Conclusions: RTCA
Allows for screening cytotoxicity and sub-cellular cytotoxicity over time
No fluorescence/absorbance measurements needed
Relatively high-throughput way of screening single or multiple compounds
Excellent “first step” in toxicology analysis

## Slide 21: Acknowledgements
Work in this study
  Lila Otero-Gonzales (Jim Fields, Reyes Sierra-Alvarez)
  Mia McCorkle, M.S.
  Cara L. Sherwood, Ph.D. – Presenting a Poster on Cell Signaling Toxicity
    HfO2, Arsenic, and “E-juice.”
Funding
  SRC/Sematech Engineering Research Center for Environmentally Benign Semiconductor Manufacturing (James A. Field (P.I.), Scott Boitano, Farhang Shadman, Buddy D. Ratner, Chris Barnes, and Reyes Sierra-Alvarez)
  Intel Foundation fellowship (Mia McCorkle, Lila Otero-Gonzoles)
  NIH Superfund Research at University of Arizona (Raina Maier, P.I.)

## Slide 22: RTCA: Practical Use
Laptop Computer (that stays put)
Controller Device
Plate Reader
Incubator

## Slide 23: RTCA: Things to Consider Before Use
Cell Type
  Adherent
  Confluence — How Much upon Addition of Compound?
Experimental Protocol – (Plate Map)
  Trying to Match a Separate Experiment?
  Temperature
  Incubator (with CO2)
  Mixing Solutions
  Dose Response(s)
Controls
  Cells Alone
  Wells Alone

## Slide 24: RTCA: Plate Map

## Slide 25: RTCA: Cell Number
Establishing Correct Cell Number Differs Widely:
1) Among Cell Types
2) According to the Timing of Experiment

## Slide 26: RTCA Experiment: Arsenic Toxicity
Raw Data:
Experiment:
Grow Cells to Subconfluence
Add Dose Response (Arsenic; 0 – 1 mM)
Evaluate Toxicity over 24 hrs
Raw Data (4 well Averages):

## Slide 27: RTCA Experiment: Arsenic Toxicity
Baseline Data--Zoomed, Averaged
Baseline Data -Zoomed, Averaged, Normalized
Experiment:
Grow Cells to Subconfluence
Add Dose Response of Arsenic (0 – 1 mM)
Evaluate Toxicity over 24 hrs
What about variation?

## Slide 28: RTCA: Arsenic Toxicity: Troubleshooting Data

## Slide 29: Understand “Normal Responses”
Same Cell Type (16HBE14o-) Growth Conditions
Similar Drug Concentrations
Concentration Responses for Both Drugs
Impedance changes are very different

## Slide 30: Measuring cytotoxic and subcytoxic effects of nanoparticles and arsenic using the xCELLigence real time cell analyzer platform
Scott Boitano, Ph.D.
Respiratory cell physiology lab
University of arizona
Superfund Research Project
April 21, 2014

## Slide 31
Characterization of HfO2 particles
PSD for micron-size HfO2 was wide, with average particle size 6.768 µm
Measured particle size distribution (PSD) for HfO2 ENPs
Only a fraction of HfO2 ENPs were in the nano-range (i.e. <100 nm)
Particle characterization is important in elucidating affected cellular mechanisms
(PSD by dynamic light scattering)
Notes: So I’ll take you back to the HfO2 particles that I showed you before, but I’ll focus on the “clean” batch (without the surface contaminants). These HfO2 particles had an average size of 150 nm, with a fraction of the particles in the nano-range under 100 nm. Since these particles are well-defined, I used them in my toxicity studies to test exposure to the airway epithelium
Range of size